Data Sheet

Swallow Incubators

Features

- Process and delayed start timers

- Multi-Program

- Fan-Circulated

- Stainless steel radiused interior

- Adjustable shelf positions

- Auto-recovery options

- Class 2 over temperature protection

| Cat. No. | LI/SWL/20/1 | LI/SWL/42/1 | LI/SWL/50/1 |
| --- | --- | --- | --- |
| Capacity (litres) | 480 | 750 | 1000 |
| Shelves Included | 3 | 3 | 3 |
| Temp. Range, ˚C | 5 above ambient to 80 | 5 above ambient to 80 | 5 above ambient to 80 |
| Internal Dims, HWD mm | 1000 x 720 x 670 | 1000 x 1120 x 670 | 1270 x 1120 x 700 |
| External Dims, HWD mm | 1270 x 870 x 865 | 1270 x 1270 x 865 | 1655 x 1270 x 1025 |

The above is the standard specification. Any modification/deviation for the above will be clearly identified on the quotation front sheet